## Sheet1
STERILE PROCESSING DEPARTMENT TESTING AND LOAD QI WORKSHEET
XYZ Campus | Date:
Indicators | Autoclave # |  |  |  | Indicators | Sterrad #
Document for each Autoclave in use | 1 | 2 | 3 | 4 | Document for each Sterrad in use | 1 | 2
Bowie Dick done and documented |  |  |  |  | Daily Biological Run
1 hr BI run and documented |  |  |  |  | Biologic test passed daily
3 hr BI run and documented |  |  |  |  | If biologic failed, Sterrad taken out of service and technician notified for service
Instand CI readout documented on load document |  |  |  |  | Chemical indicator run with each Sterrad load
Load content identified with chemical indicator attached and load stamp |  |  |  |  | Each test verified and initialed by operator
Load stamp / load sequence accurate |  |  |  |  | Instrument log complete
Print out documentation verification - initialed
Proper temperature setting documented
Load operator's initials present
Flash sterilization strips initialed by two staff members
Flash sterilization cycle temperature and time setting appropriate
Implant Release Form utilized if implants used prior to 1&3 hr BI
# of Deficiencies | [7 empty] | Total # Deficiencies | Score
Initials of deficient operator
KEY FOR USE: N/A if not applicable
þ Check mark in box if complaince is demonstrated
* Place a star and initials in box if not compliant with standard |  |  |  |  | Evaluator Signature:
Source: Lakeland Surgical & Diagnostic Center, Lakeland, Fla. Adapted and reprinted with permission.